Annexure – 5

Enquiry No. 1/PE240074/8

Date : 09.04.2024

Due Date : 14.05.2024

OXYGEN GAS TERMS &CONDITIONS :-

- The  Supply of refilled Cylinders should be in compliance to Gas Cylinder rule – 2004.

- Scope of Work : Scope of work to include refilling, rental and transportation of full and emply Gas Cylinders.

- Delivery Schedule : Cylinders are to be delivered within three days from the indent given by Turamdih Store department.

- Quantity  : 19,999 Cu. Mtr.

- Despatch Location : Material to be delivered at our Turamdih Stores.

- Any Incidental Charges : Any Incident Charges has to be included in the Price Terms.

- Cylinder Holding/ Rotation Limit & Time : Holding/ Rotation Limit is to be maintained for minimum Seventy Five numbers of cylinders. An average of 7 days may be considered for holding one number of cylinder.

- Validity of Purchase Order : Eighteen months  from the P.O. Date and further  be extendable on mutual consent.

- Splitting of Purchase Order : To ensure smooth supply, effort will be made to split the order quantity on L1 (Lowest) & L2 (Second Lowest) two non-related bidders in the ratio of 70% & 30% respectively subject to matching of L1 bidder's landed price by the L2 bidder. However, incase L2 bidder does not match the L1 bidder's price then same opportunity will be given to L3 bidder to supply the material at L1 bidder's landed price only and so on if none of the bidder agree to match L1 bidder's price then order for 100% Quantity will be awarded on L1 bidder. In case of tie or under other inconclusive situations then UCIL's decision towards award of order will be final and binding upon participated bidders.

- Each cylinder refilling of gas should be of 6.5 -7.5 Cu.Mtr.

- Purity of  Gas  & Cylinder Pressure : Purity of Gas  99.7%. Approx and per cylinder pressure 140-150 Bar.

- Safety Instruction label and the Serial Number has to be mentioned in each Cylinder.

- Safety Valve Guard has to be fixed in each cylinder.

Anjana Mahanty

Asst. Purchase Officer