## 3-PE230291-1
Annexure for PE# 3/PE230291/1
Spares parts of OTIS Elevator
Sl.No. | Material Code | Material Description | Unit | Quantity
1 | 300012017001 | Alarm | No. | 1
2 | 300012017041 | Manual Rescue Operation Board | No. | 1
3 | 300012017042 | SPB3-Service Panel Board | No. | 1
4 | 300012017043 | CSPB Board-Car Signal Processor Board | No. | 1
5 | 300012017044 | COPB Board-Car Operating Processor Board. | No. | 1
6 | 300012017045 | Buttons | No. | 6
7 | 300012017046 | RS14-Remote serial comm board | No. | 2
8 | 300012017101 | Aux Contact | No. | 2
9 | 300012017102 | Car Door Contact | No. | 4
10 | 300012017151 | Regen Drive | No. | 1
11 | 300012017152 | Surge Protection Device | No. | 2
12 | 300012017153 | Hall Display | No. | 2
13 | 300012017154 | Landing Door Male-Female contact | No. | 8
14 | 300012017155 | Door Gibbs | No. | 10
15 | 300012017191 | Encoder | No. | 1
16 | 300012017361 | RBI-Resistance Based Inspection | No. | 1
17 | 300012017441 | Emergency Light | No. | 1
18 | 300012017591 | RCBO Package | No. | 1
19 | 300012017592 | FPB & amp PB-Field Processor Assembly ACD5 | No. | 1
20 | 300012017681 | SW1 Relay-Switch Over Relay | No. | 2
21 | 300012017682 | Voltage Protection Relay | No. | 2
22 | 300012017683 | Power Relay | No. | 2
23 | 300012017761 | Car Guide Shoe Gibbs | No. | 8
24 | 300012017762 | Cwt Guide Shoe Gibbs | No. | 8
25 | 300012017763 | SMPS 220V AC - 48V DC | No. | 1
26 | 300012017764 | SMPS 220V AC - 30V DC | No. | 1
27 | 300012017765 | SMPS-DDR-30V DC-48V DC | No. | 1
28 | 300012017766 | Door Sensor | No. | 1
29 | 300012017767 | Reed Switch | No. | 2
30 | 300012017768 | Load Sensor | No. | 1
31 | 300012017769 | Limit Switch | No. | 4
32 | 300012017770 | Pit Switch | No. | 2
33 | 300012017771 | SOS Switch-Safety Operated | No. | 1
34 | 300012017772 | Closer Spring | No. | 6
35 | 300012017891 | Car Door Vane | No. | 1
NOTE:
1.Bidder Should submit their offer as per terms & conditions given under Annexure 1, 2 & 3
[ANNEXURE -1(Pre -Qualification Part) ,ANNEXURE-2(Techno commercial Cum Price Part)
& Annexure -3 (Pre-Qualification Criteria)].
2.Please do not send your offer in hard copy. Bidder should submit their offer
through https://etenders.gov.in/eprocure only.
3. Email: For any clarification please make correspondence through
email ID: jadpur3@uraniumcorp.in only.
4. All the above material should be compatible with OTIS ELEVATOR
Model:ACD5MRL,M/C No.D6376.
5. Kindly provide the following details:
a) Signature of the authorized person:
b) Name & Designation:
c) Company Name
d) Company Seal
6. Bidder should take print out of this sheet and upload the acceptance copy with above details.
Bid submitted without this document shall not be considered for evaluation and may be
liable for rejection.
Sima Kumari Sahay
Asst. Purchase officer