Date: 27/04/2022

CORRIGENDUM FOR TECHNO COMMERCIAL BID

The Corrigendum against our tender no 3/PE220058/7 dtd 31/03/2022 with respect to item description & due date extension:

- Item Description:

FOR     :  3 Pole contactor, 415 volts, Type:LCD15011 (F-5), Coil Volt - 110volts AC,

50 Hz with 1 NO + 1 NC Contacts.Make: Schneider Electric /

Telemechanique

READ  :   3 Pole contactor, 415 volts, Type:LC1D5011 (F-5), Coil Volt - 110volts AC,

50 Hz with 1 NO + 1 NC Contacts.Make: Schneider Electric /

Telemechanique

- Extension of Due Date:

FOR      : 11/05/2022

READ   :  18/05/2022

Rest of the terms and conditions of the tender will be remain unaltered.

(Sima Kumari Sahay )

Asst. Purchase Officer